Anden 5790 Round Duct Kit
Anden dehumidifiers are designed for maximum growth. The Model 5790 Round Duct Kit is for applications where ducting your dehumidifier is required. The dehumidifier can be installed outside of the grow room and ducted to the room with dedicated inlet and supply ducts.
The Model 5790 duct kit for the A210V1 has inlet and outlet collars designed to fit 12” round duct.

Anden Features:
· INCLUDES: Duct transitions for the inlet and outlet. The inlet transition comes with a filter access door for Anden Dehumidifier Model: A210V1
· MATERIAL: Galvanized steel
· DUCT COLLAR SIZE: 12” round



